NOISEBLOCKTM QUIETSCREEN SYTEM SPECIFICATION
1.0 General
A. NOISEBLOCKTM QuietScreen System will consist of composite curtain material and heavy-duty grommets. 
B. All specifications and drawings are cooperative and schematic in design only.  Field conditions prevail.  While dimensions are approximate and typical for bidding purposes only, a full detailed submittal is required immediately upon award, reviewed and dimensions confirmed by installing contractor prior to installation.
2.0 Materials- 
A. NOISEBLOCKTM QuietScreen system components shall be factory-fabricated and designed for easy and accurate field assembly and removal. The composite panels and components shall not be susceptible to damage due to extended exposure to vibration, air temperature or humidity with the passage of time.  QuietScreen composite insulated panels shall be of sandwiched construction and shall be provided as indicated on schematic drawings by a recognized manufacturer with published standards of construction.  System shall be light weight and cut-to-size to be installed on a fence or wall.
3.0. Acoustical and Airflow Performance
A. Product shall be backed by independent test data obtained in a NVLAP accredited laboratory indicating sound absorption and transmission loss characteristics of the product.  Sound absorption data to be listed at 63, 125, 250, 500, 1000, 2000, 4000, 8000 Hz center frequencies.  Sound transmission loss data to be listed at 63 125, 250, 500, 1000, 2000, 4000, 8000 Hz center frequencies. (Manufacturer in-house tested performance will not be permitted).
4.0.
 Engineering Services
A. Complete AutoCAD submittals and piece-marked installation drawings to be supplied by manufacturer.  
B. 
System acoustical analysis to be supplied by manufacturer reporting the modelled sound levels at various distances from the chiller before and after installation of the NOISEBLOCKTM QuietScreen system and shall be supplied with submittal.

5.0. Manufacturer
A.   All materials shall be manufactured by Kinetics Noise Control, Inc. (Dublin, OH).  
